## Sheet1
NUMERO PROGRESSIVO CENSIMENTO | Short Description | Equipment Producer | Model | Equipment Description | SW Options / Accessories | Quantity | Producer Serial Number | Last calibration Date | Calibration Due Date | IP ADDRESS (if available) | Room Site Number | Room Site Description | Location inside the Room | Project Description | Project Reference People | Test Bench Number and /or Description | Availability | Booked by | Booked from (dd-mm-yyyy) | Booked till (dd-mm-yyyy) | Booking List and booking date (dd-mm-yyyy) | Notes and comments | HCL Serial numer / Internal coding | PROPERTY (who buyed the equipment)
| POWER SUPPLY | AGILENT | E3631A | Triple Output DC Power Supply 0-6V, 5A / 0 - ± 25 V, 1A | NA | 1 | MY40008359 | 2007-07-24 | 2009-07-24 |  |  | RF lab; Floor -1 | on mobile Rack 1 | NO | NO | NO | YES | NO | NO | NO | NO | It needs calibration
| POWER SUPPLY | AGILENT | E3631A | Triple Output DC Power Supply 0-6V, 5A / 0 - ± 25 V, 1A | NA | 1 | MY40000970 | 2007-11-21 | 2009-11-21 |  |  | RF lab; Floor -1 | on mobile Rack 1 | NO | NO | NO | YES | NO | NO | NO | NO | It needs calibration
| SIGNAL GENERATOR | HP | E4422B | 250kHz - 4.0GHz ESG SERIES SIGNAL GENERATOR | OPT 1E5 UK6 | 1 | GB39340230 | 2016-11-28 | 2017-11-28 |  |  | RF lab; Floor -1 | on mobile Rack 1 | NO | NO | NO | YES | NO | NO | NO | NO | It needs calibration
| SPECTRUM ANALYZER | AGILENT | E4448A | 3Hz - 50GHz PSA Series Spectrum Analyzer |  | 1 | US42070112 | 2016-04-05 | 2018-04-05 |  |  | RF lab; Floor -1 | on mobile Rack 1 | NO | NO | NO | YES | NO | NO | NO | NO | It needs calibration
| POWER SUPPLY | AGILENT | E3633A | DC Power Supply 0-8V, 20A / 0 -20 V, 10A | NA | 1 | MY40001162 | 2007-08-10 | 2009-08-10 |  |  | RF lab; Floor -1 | on mobile Rack 1 | NO | NO | NO | YES | NO | NO | NO | NO | It needs calibration
| WAVEFORM GENERATOR | AGILENT | 33220A | LXI 20MHz Function / Arbitrary Waveform Genarator | NA | 1 | MY44041969 |  |  |  |  | RF lab; Floor -1 | on mobile Rack 1 | NO | NO | NO | YES | NO | NO | NO | NO
| DATA ACQUISITION | AGILENT | 34970A | Data Acquisition / Switch Unit |  | 1 | MY44053275 |  |  |  |  | RF lab; Floor -1 | on mobile Rack 1 | NO | NO | NO | YES | NO | NO | NO | NO
| DAQ MODULE | AGILENT | 34901A | Switch - DAQ Module |  | 1 | US37250054 |  |  |  |  | RF lab; Floor -1 | on mobile Rack 1 | NO | NO | NO | YES | NO | NO | NO | NO
| SWITCH | D-LINK | DES-1008D | 8 Port Fast Ethernet 10/100 Mbps Unmanaged Desktop Switch |  | 1 | PL2518C016438 |  |  |  |  | RF lab; Floor -1 | on mobile Rack 1 | NO | NO | NO | YES | NO | NO | NO | NO
| NETWORK ANALYZER | HP | HP 85103D | HP 8510C NETWORK ANALYZER |  | 1 | 3031A06991 |  |  |  |  | RF lab; Floor -1 | on mobile Rack 2 | NO | NO | NO | YES | NO | NO | NO | NO
| NETWORK ANALYZER | HP | HP 85102B | HP 8510C NETWORK ANALYZER |  | 1 | 2844A04866 |  |  |  |  | RF lab; Floor -1 | on mobile Rack 2 | NO | NO | NO | YES | NO | NO | NO | NO
| NETWORK ANALYZER | HP | HP 8517B | HP 8510C NETWORK ANALYZER |  | 1 | 3602A00485 |  |  |  |  | RF lab; Floor -1 | on mobile Rack 2 | NO | NO | NO | YES | NO | NO | NO | NO
| CW GENERATOR | HP | HP 83650L | 10MHz - 50GHz 8360L SERIES SWEPT CW GENERATOR |  | 1 | 3722A00165 |  |  |  |  | RF lab; Floor -1 | on mobile Rack 2 | NO | NO | NO | YES | NO | NO | NO | NO
| NETWORK ANALYZER | AGILENT | N5242A | 10MHz - 26.5GHz PNA-X NETWORK ANALYZER |  | 1 | MY47200202 | 2018-10-23 | 2019-10-23 |  |  | RF lab; Floor -1 |  | NO | NO | NO | YES | NO | NO | NO | NO
| SIGNAL GENERATOR | AGILENT | N5181A | 100kHz - 6GHz MXG ANALOG SIGNAL GENERATOR |  | 1 | MY50145006 |  |  |  |  | RF lab; Floor -1 |  | NO | NO | NO | YES | NO | NO | NO | NO
| CW GENERATOR | AGILENT | 83650L | 10MHz - 50GHz 8360L SERIES SWEPT CW GENERATOR |  | 1 | 3844A00525 |  |  |  |  | RF lab; Floor -1 |  | NO | NO | NO | YES | NO | NO | NO | NO
| OSCILLOSCOPE | TEKTRONIX | TDS 784D | FOUR CHANNEL DIGITAL PHOSPHOR OSCILLOSCOPE 1GHz, 4GS/s |  | 1 | B040601 |  |  |  |  | RF lab; Floor -1 |  | NO | NO | NO | YES | NO | NO | NO | NO
| DIGITAL SERIAL ANALYZER | TEKTRONIX | DSA 70604 | DIGITAL SERIAL ANALYZER 6GHz, 25GS/s |  | 1 | B031031 | 2016-11-30 | 2017-11-30 |  |  | RF lab; Floor -1 |  | NO | NO | NO | YES | NO | NO | NO | NO
| OSCILLOSCOPE | TEKTRONIX | TDS 3054 | FOUR CHANNEL COLOR DIGITAL PHOSPHOR OSCILLOSCOPE 500MHz, 5GS/s |  | 1 | B014483 |  |  |  |  | RF lab; Floor -1 |  | NO | NO | NO | YES | NO | NO | NO | NO
| SIGNAL GENERATOR | HP | 8648B | 9kHz - 2000MHz SIGNAL GENERATOR |  | 1 | 3836U02125 |  |  |  |  | RF lab; Floor -1 |  | NO | NO | NO | YES | NO | NO | NO | NO
| MULTIMETER | AGILENT | 34401A | 6 1/2 DIGITAL MULTIMETER |  | 1 | MY44003541 |  |  |  |  | RF lab; Floor -1 |  | NO | NO | NO | YES | NO | NO | NO | NO
| POWER METER | AGILENT | E4418B | EPM SERIES POWER METER |  | 1 | MY40512685 |  |  |  |  | RF lab; Floor -1 |  | NO | NO | NO | YES | NO | NO | NO | NO
| POWER SENSOR | HP | 8485A | POWER SENSOR 50MHz - 26.5 GHz +20 to -30 dBm |  | 1 | 3318A20236 |  |  |  |  | RF lab; Floor -1 |  | NO | NO | NO | YES | NO | NO | NO | NO
| POWER SENSOR | AGILENT | 8487A | POWER SENSOR 50MHz - 50GHz +20 to -30 dBm |  | 1 | MY41092637 |  |  |  |  | RF lab; Floor -1 |  | NO | NO | NO | YES | NO | NO | NO | NO
| OSCILLOSCOPE | TEKTRONIX | TDS 784D | FOUR CHANNEL DIGITAL PHOSPHOR OSCILLOSCOPE 1GHz, 4GS/s |  | 1 | B010346 |  |  |  |  | RF lab; Floor -1 |  | NO | NO | NO | YES | NO | NO | NO | NO
| POWER SENSOR | KEYSIGHT | U2053XA | USB Average Power Sensor 10MHz - 33GHz, -70 to +26dBm | OPT 100 | 1 | MY58000010 |  |  |  |  | RF lab; Floor -1 | Armadio legno | NO | NO | NO | NO | YES | YES | YES | YES | Hosted in Milan 5B Lab |  | ERICSSON
| POWER SENSOR | AGILENT | U2002H | USB Average Power Sensor 50MHz - 24GHz, -50 to +30dBm | OPT 100 | 1 | MY53200004 | 2017-04-10 |  |  |  | RF lab; Floor -1 | Armadio legno | NO | NO | NO | NO | YES | YES | YES | YES | Hosted in Milan 5B Lab
| RF Switch | R&S | OSP220, mod: 1528.3105.02 OSP-B111, mod: 1505.4605.02 | Switches for RF path |  | 1 | 101613 100238 |  |  |  |  | RF lab; Floor -1 |  |  |  |  | NO | YES | YES | YES | YES | Hosted in Milan 5B Lab |  | ERICSSON
| RF Switch | R&S | OSP220, mod: 1528.3105.02 OSP-B111, mod: 1505.4605.02 | Switches for RF path |  | 1 | 101614 100239 |  |  |  |  | RF lab; Floor -1 |  |  |  |  | NO | YES | YES | YES | YES | Hosted in Milan 5B Lab |  | ERICSSON
| IF Switch | R&S | OSP230, mod: 1528.3105.03 OSP-B125, mod: 1515.5540.02 | Switches for LO/IF path |  | 1 | 101470 101372 |  |  |  |  | RF lab; Floor -1 |  |  |  |  | NO | YES | YES | YES | YES | Hosted in Milan 5B Lab |  | ERICSSON
| IF Switch | R&S | OSP230, mod: 1528.3105.03 OSP-B125, mod: 1515.5540.02 | Switches for LO/IF path |  | 1 | 101471 101373 |  |  |  |  | RF lab; Floor -1 |  |  |  |  | NO | YES | YES | YES | YES | Hosted in Milan 5B Lab |  | ERICSSON
| DC power modules | KEYSIGHT | Main module: N6701C Supply 12V: N6761A (2pcs) Supply 9V: N6763A | Power supply for 9V and 12V |  | 1 | MY56003267 MY54002996/98 MY53001289 |  |  |  |  | RF lab; Floor -1 |  |  |  |  | NO | YES | YES | YES | YES | Hosted in Milan 5B Lab |  | ERICSSON
| DC power modules | KEYSIGHT | Main module: N6701C Supply 12V: N6761A (2pcs) Supply 9V: N6763A | Power supply for 9V and 12V |  | 1 | MY56003361 MY54002994/95 MY53001288 |  |  |  |  | RF lab; Floor -1 |  |  |  |  | NO | YES | YES | YES | YES | Hosted in Milan 5B Lab |  | ERICSSON
| MULTIMETER | HP | 917A | MULTIMETER |  | 1 | JP40012244 | 2004-03-04 | 2006-03-04 |  |  | RF lab; Floor -1 |  |  |  |  | YES | NO | NO | NO | NO | It needs calibration
| MULTIMETER | HP | 973A | MULTIMETER |  | 1 | JP38010812 |  |  |  |  | RF lab; Floor -1 |  |  |  |  | YES | NO | NO | NO | NO
| SWITCH | CISCO SYSTEMS | WS-C2960G-24TC-L V02 | Catalyst 2960G Series |  | 1 | FOC1116Z3VL |  |  |  |  | RF lab; Floor -1 |  |  |  |  | YES | NO | NO | NO | NO
| CALIBRATION KIT | HEWLETT PACKARD | 85056A | 2.4mm CALIBRATION KIT |  | 1 | 3101A01617 | 2008-11-24 |  |  |  | RF lab; Floor -1 |  |  |  |  | YES | NO | NO | NO | NO